IA-WI-01 Internal Audit Work Instruction | LabKitPro Internal Audit Pack :root{--ink:#10202e;--ink2:#38505f;--muted:#5d7180;--bg:#f6f8fa;--card:#fff;--line:#dde5eb;--brand:#0f2f4a;--accent:#0e8f7d;--accent2:#1b6ea8;--warn:#a35b1a} *{box-sizing:border-box;margin:0;padding:0} body{font-family:"Inter","Segoe UI","Helvetica Neue",-apple-system,sans-serif;background:var(--bg);color:var(--ink);line-height:1.8;font-size:15px} .wrap{max-width:1080px;margin:0 auto;padding:0 24px 80px} header.hero{background:linear-gradient(135deg,#0f2f4a 0%,#16456b 60%,#1b6ea8 100%);color:#fff;padding:44px 24px 34px;margin-bottom:28px} .hero-inner{max-width:1080px;margin:0 auto} .kicker{font-size:13px;letter-spacing:2px;color:#8fd8cb;text-transform:uppercase;margin-bottom:10px} h1{font-size:28px;font-weight:800;margin-bottom:10px} .sub{font-size:14.5px;color:#cfe0ec;max-width:820px} .badge-row{margin-top:16px;display:flex;flex-wrap:wrap;gap:8px} .badge{font-size:12px;padding:4px 12px;border-radius:999px;background:rgba(255,255,255,.12);border:1px solid rgba(255,255,255,.25);color:#e8f2fa} h2{font-size:20px;font-weight:800;color:var(--brand);margin:36px 0 8px;padding-top:8px;border-top:2px solid #e3ecf2} h3{font-size:15.5px;font-weight:700;color:var(--ink2);margin:20px 0 8px} p{margin:6px 0} table{width:100%;border-collapse:collapse;margin:10px 0 6px;font-size:13px;table-layout:fixed} th{background:#eef3f7;color:var(--ink2);font-weight:700;text-align:left;padding:8px;border:1px solid var(--line)} td{padding:8px;border:1px solid var(--line);vertical-align:top} tbody tr:nth-child(even){background:#fafcfd} .fill tbody td{background:#fff} .note{background:#fff8ec;border:1px solid #f0d9b8;border-radius:10px;padding:12px 16px;font-size:13px;color:#6b5320;margin:14px 0} .note b{color:#a35b1a} .bad{background:#fdeaea;border:1px solid #ecc8c8;border-radius:8px;padding:10px 14px;font-size:13px;color:#7a2830;margin:8px 0} .good{background:#e7f4f1;border:1px solid #bfe3da;border-radius:8px;padding:10px 14px;font-size:13px;color:#1d5a50;margin:8px 0} .foot{margin-top:48px;padding-top:18px;border-top:1px solid var(--line);color:var(--muted);font-size:12.5px;text-align:center} .ph{color:#98a8b6} @media(max-width:760px){h1{font-size:22px}table{font-size:12px;min-width:560px}th,td{padding:5px}.wrap{padding:0 14px 60px}} LabKitPro · Level-C Work Instruction (WI) · Supporting LP-02 Internal Audit Work Instruction

Takes the Internal Audit Procedure (LP-02) down to the operating layer: how to build a checklist, how to sample, how to interview and gather evidence, how to grade and write nonconformities — with a built-in case library. This is the training text for first-time auditors. Doc No. IA-WI-01 Version V1.0 Supporting LP-02 Operating layer: build / sample / interview / grade 1 Scope

This instruction is for use by audit team leaders, auditors, audited departments and quality personnel, in conjunction with LP-02 and the full set of audit forms (IA-01 through IA-06, FR-24, FR-25). Where this instruction conflicts with the procedure, LP-02 prevails; this document details how to execute, and does not change any responsibilities or flow.

## 2 How to Build an Audit Checklist

Follow these steps to turn the full-element checklist (IA-04) into the working checklist for this audit:

| Step | Operation |
| --- | --- |
| 1. Select clauses in scope | Copy the clause pages of IA-04 that fall within this audit's scope (per IA-02); do not carry all pages every time. |
| 2. Tailor the audit items | Adjust the audit items to this audit's actual focus: e.g. for an equipment-focused audit, keep every §6.4 item and add items on first-use records after calibration and confirmation of calibration results. |
| 3. Pre-set sampling points | Fill in, before the audit, the sampling plan per IA-02 §4 (which months, which records, which on-site actions), so the checklist guides the day rather than being filled out in hindsight. |
| 4. Add “evidence to collect” | In the evidence column, note the specific document/record numbers you will seek — a checklist that records evidence at the moment of finding it is reliable; one completed afterwards is not. |

3 How to Sample (the core audit skill)

Sampling rules of thumb that keep findings defensible:

| Rule | Application |
| --- | --- |
| Cover spread, not just the first page | Sample evenly across the period in scope (by month), not only the most recent or most convenient files. |
| Minimum three per item | At least 3 records per audit item; for high-risk items (report sign-off, data integrity) take 5–8. |
| Trace one end to end | For process items, follow one sample/item from start to finish — e.g. one customer request → sampling → analysis → report → archive — rather than looking at steps in isolation. |
| Include the exceptional | Deliberately sample the unusual: records after equipment repair, first batch signed by a newly authorised person, night-shift records, corrective-action cases. |
| State the sample | Record exactly what was sampled (dates, numbers, counts) so the auditee can reproduce the finding. |

4 How to Interview and Gather Evidence

| Technique | Application |
| --- | --- |
| Ask about real cases | “Show me the last report you signed” is evidence; “do you know the procedure?” is opinion. Prefer asking for demonstrations over hypothetical answers. |
| Three confirmation channels | An audit statement is confirmed when document + record + observation or interview agree. A finding from only one channel is usually an observation, not a nonconformity. |
| Listen, then verify | When staff describe a process, ask them to open the actual record and walk you through it — the walkthrough is the evidence. |
| Record facts, not people | Capture dates, document numbers, quantities and locations; avoid naming individuals in the finding. Nonconformities address the system, not the person. |
| Confirm facts on the spot | At the closing meeting, or immediately after the finding, read the fact statement back to the auditee and obtain confirmation (FR-24 §1). |

5 How to Grade and Write Nonconformities

| Grade | Criteria |
| --- | --- |
| Major | Absence or complete loss of a requirement; a nonconformity that directly undermines result validity; a finding that recurs after a previous correction. |
| Minor | A single occurrence, partial nonconformity, no direct impact on result validity — e.g. one record missing one field. |
| Observation | A potential weakness or improvement opportunity, no current nonconformity demonstrated. |

Poor writing: “Report quality is poor” — a judgement, not a fact; cannot be verified or corrected.

Good writing: “Report No. TR-2026-031 (issued 2026-02-18) does not state the sampling location required by §7.8.3; the sampling record shows the site was A001. The template revision TR-2025-02 in use also omits this field.” — objective, citable, fixable.

## 6 Case Library (typical findings and how to phrase them)

| Area | Typical finding | How to phrase it |
| --- | --- | --- |
| Equipment (§6.4) | Instrument used before the calibration result was confirmed after return from calibration | “Instrument SN-2210 was used for report TR-2026-020 on 2026-02-10; the calibration certificate Cal-2026-014 was only confirmed by the Technical Manager on 2026-02-15. The equipment management procedure LP-09 §6.4.13 requires confirmation before use.” |
| Reporting (§7.8) | Sampling information missing from a report | “Report TR-2026-031 does not state the sampling location; the sampling record shows site A001. §7.8.3 requires the report to include all sampling information.” |
| Records (§7.5) | Observation written in pencil / electronic record without audit trail | “The pH record for sample S-0218 on 2026-01-12 is written in pencil; §7.5.1 requires amendments to be legible and traceable.” |
| Traceability (§6.5) | Intermediate check overdue, plan without criteria | “The monthly intermediate check of the analytical balance has no recorded criteria or tolerance; §6.4.6 requires checks to have defined criteria.” |
| Complaints (§7.9) | Complaint registered but no response record | “Complaint CM-2026-004 (received 2026-03-02) has no record of response or closure decision within the 5-working-day requirement of §7.9.2.” |

7 What to Do After the Audit (report, correction, closure)

| Stage | Operation |
| --- | --- |
| Report (FR-25) | Team leader drafts within 10 working days; every finding cites IA-04 evidence; effectiveness judgement supported by IA-05 trend data. |
| Corrective actions (FR-24 / §8.7) | Immediate correction, then root-cause analysis (person/method/equipment/material/environment), then root-cause-targeted action; owner + deadline; update the risk register. |
| Verification (IA-06) | Verify effectiveness with sample re-checks and non-recurrence over the following period; close or return per the escalation rules in IA-06 §3. |
| Feed forward (IA-05 → management review) | Consolidate distribution and trend; submit as management review input e) and as evidence for next year's audit programme (IA-01). |

Common traps: ① copying the standard into the checklist instead of turning it into actions; ② auditing only documents, never on-site work; ③ grading every finding as minor to avoid conflict; ④ writing findings about people instead of systems; ⑤ accepting “we'll improve” as a correction instead of verified evidence of change. IA-WI-01 Internal Audit Work Instruction · LabKitPro Internal Audit Complete Pack (English Version v1.0)
Prepared in accordance with ISO/IEC 17025:2017 · Paid template for internal use by the purchasing laboratory only