MR-WI-01 Management Review Work Instruction | LabKitPro Management Review Pack :root{--ink:#10202e;--ink2:#38505f;--muted:#5d7180;--bg:#f6f8fa;--card:#fff;--line:#dde5eb;--brand:#0f2f4a;--accent:#0e8f7d;--accent2:#1b6ea8;--warn:#a35b1a} *{box-sizing:border-box;margin:0;padding:0} body{font-family:"Inter","Segoe UI","Helvetica Neue",-apple-system,sans-serif;background:var(--bg);color:var(--ink);line-height:1.8;font-size:15px} .wrap{max-width:1080px;margin:0 auto;padding:0 24px 80px} header.hero{background:linear-gradient(135deg,#0f2f4a 0%,#16456b 60%,#1b6ea8 100%);color:#fff;padding:44px 24px 34px;margin-bottom:28px} .hero-inner{max-width:1080px;margin:0 auto} .kicker{font-size:13px;letter-spacing:2px;color:#8fd8cb;text-transform:uppercase;margin-bottom:10px} h1{font-size:28px;font-weight:800;margin-bottom:10px} .sub{font-size:14.5px;color:#cfe0ec;max-width:860px} .badge-row{margin-top:16px;display:flex;flex-wrap:wrap;gap:8px} .badge{font-size:12px;padding:4px 12px;border-radius:999px;background:rgba(255,255,255,.12);border:1px solid rgba(255,255,255,.25);color:#e8f2fa} h2{font-size:20px;font-weight:800;color:var(--brand);margin:36px 0 8px;padding-top:8px;border-top:2px solid #e3ecf2} h3{font-size:15.5px;font-weight:700;color:var(--ink2);margin:20px 0 8px} p{margin:6px 0} table{width:100%;border-collapse:collapse;margin:10px 0 6px;font-size:13px;table-layout:fixed} th{background:#eef3f7;color:var(--ink2);font-weight:700;text-align:left;padding:8px;border:1px solid var(--line)} td{padding:8px;border:1px solid var(--line);vertical-align:top} .note{background:#fff8ec;border:1px solid #f0d9b8;border-radius:10px;padding:12px 16px;font-size:13px;color:#6b5320;margin:14px 0} .note b{color:#a35b1a} .good{background:#e7f4f1;border:1px solid #bfe3da;border-radius:8px;padding:10px 14px;font-size:13px;color:#1d5a50;margin:8px 0} .bad{background:#fdeaea;border:1px solid #ecc8c8;border-radius:8px;padding:10px 14px;font-size:13px;color:#7a2830;margin:8px 0} .foot{margin-top:48px;padding-top:18px;border-top:1px solid var(--line);color:var(--muted);font-size:12.5px;text-align:center} .ph{color:#98a8b6} @media(max-width:760px){h1{font-size:22px}table{font-size:12px;min-width:520px}th,td{padding:5px}.wrap{padding:0 14px 60px}} LabKitPro · Level-3 Work Instruction (WI) · Supports LP-09 Management Review Work Instruction

Step-by-step operating guidance for the management review: where to get the data for each of the 15 inputs, how to write a proper conclusion, how to chair the meeting, how to complete MR-05, how to run MR-06, plus a filling example bank, a pre-issue self-check, and time-saving tips. Doc No. MR-WI-01 Version V1.0 Supports LP-09 Audience: Quality Manager / reviewers / department leads 1 Before You Start

This instruction is the “operating manual” for LP-09. Before acting, read LP-09 to understand the overall flow, then prepare this year's dates from MR-01/MR-07. Principle: the review's value equals the quality of its inputs and the tracking of its outputs — empty inputs and abandoned decisions are what turn a review into paperwork.

## 2 Where to Get the Data for the 15 Inputs (item by item)

The common mistake is “no data”. For each item, the data already exists inside the laboratory; the trick is to know where it sits and to standardise it into MR-03. Reference table:

| Item | Input | Where to find the data | Who prepares |
| --- | --- | --- | --- |
| a | Changes in internal and external factors | Regulatory update tracking sheet, customer industry news, minutes of management meetings | Administration / management |
| b | Extent to which objectives were met | Annual quality objective attainment statistics (usually maintained by Quality) | Quality Manager |
| c | Appropriateness of policies and procedures | Document control ledger, internal audit findings, department feedback | Quality Manager |
| d | Status of previous review actions | Last year's MR-06 tracker — simply “check each one” | Quality Manager |
| e | Internal audit results | FR-25 audit report, IA-05 distribution/trend analysis | Audit team leader |
| f | Corrective actions | FR-24 nonconformity ledger, IA-06 closure verification | Responsible departments |
| g | External assessments | Accreditation body / regulator assessment reports and correction records | Quality Manager |
| h | Changes in workload / type / scope | Monthly workload statistics, scope-change applications, subcontracting records | Business / technical |
| i | Customer and personnel feedback | Satisfaction survey summaries, employee suggestion records, exit interviews | Administration / HR |
| j | Complaints | Complaint handling ledger (§7.9) | Quality Manager |
| k | Effectiveness of improvements | Improvement measure evaluations (before/after data) | Quality Manager |
| l | Adequacy of resources | Equipment utilisation stats, premises reports, personnel headcount and capability matrix | Technical Manager |
| m | Risk identification results | Risk and opportunity register (§8.5) | Quality Manager |
| n | Outputs ensuring validity of results | PT summary, QC chart summary, intermediate check records | Technical Manager |
| o | Other relevant factors (monitoring / training) | Environmental monitoring records, training matrix and completion statistics | All departments |

3 How to Write a Conclusion for Each Input (with examples)

Conclusion formula: “current value/state (data) → comparison (vs. target or vs. last year) → judgement (met / gap / risk) → suggestion (for decision)”. It must never end with “normal”.

Good: “PT satisfaction 100% in 8 rounds, internal QC in-control rate 98%, intermediate check completion 100%; result validity confirmed (item n).”

Poor: “No problems found in this item.” (data missing, no evidence, cannot support a judgement)

| Item | Good example (fill-in model) |
| --- | --- |
| a | “New accreditation supporting documents released in April triggered 2 procedure revisions; market demand adds new-energy parameters; the system has responded, no structural adjustment needed.” |
| b | “5 of 6 objectives met; report on-time rate 92.3% vs. target 95% — gap caused by scope-extension review backlog; listed as issue T1.” |
| c | “28 controlled documents; 4 revised, 2 added this year; sampled on-site all in valid revision; no documents-without-execution found.” |
| d | “11 of 12 decisions completed; 1 (LIMS launch) delayed to Q2, reasons at T2; overdue items already escalated.” |
| e | “Full-element audit raised 5 NCs (all minor); conclusion: the system conforms and is effective; equipment control remains a weak point (see IA-05).” |
| f | “14 NCs, 13 closed (93%); 1 recurring equipment-identification issue escalated for root-cause analysis and document revision.” |
| g | “1 surveillance assessment; 2 observations, both closed within 60 days; recommendations incorporated into improvement.” |
| h | “Orders up 18.2% yoy; 12 new environmental parameters; capacity copes but peaks are saturated — resource demand in item l.” |
| i | “Customer satisfaction 94.1 vs. 91.3 last year; 8 employee suggestions, 5 adopted; main expectation is faster reports.” |
| j | “3 complaints, all closed on time; no repeat from the same customer; report format is the common theme, improvement listed in k.” |
| k | “After report double-review was introduced, the error rate fell from 0.7% to 0.4% — effective and to be retained.” |
| l | “Key equipment average utilisation 85%; GC queues over 3 days in peak months; recommend adding 1 unit (decision c).” |
| m | “16 risks (2 high / 5 medium / 9 low); the attrition risk has a backup mechanism; medium risks under control.” |
| n | “PT satisfaction 100%; QC in-control 98%; 1 out-of-control case corrected and closed with its record.” |
| o | “2 environmental alerts both handled on time; training completion 96%; 1 external training deferred to Q1.” |

4 How to Chair the Management Review

① Start: state the purpose and scope; confirm inputs are complete; if any item is missing or “empty”, stop and return it. ② For each issue to be decided, the chair asks: “What is the evidence? What is the decision? Who owns it? By when?” — and the minutes record the answers. ③ Guard against drift into a briefing session: informational content is read beforehand, the meeting decides only. ④ Before closing, the chair reads back the four output categories a)–d) and confirms each has an owner and deadline. ⑤ Appoint the Quality Manager to enter everything into MR-06 within 3 days.

## 5 How to Complete MR-05 (step by step)

① Copy the 15 core conclusions from MR-03 into §3 (edit for one consistent voice). ② In §4 write the triple-dimension judgement: suitability / adequacy / effectiveness, each with evidence. ③ In §5 turn the “issues to be decided” decisions into the four output categories, each row must have: decision content + owner + deadline + acceptance criteria. ④ In §6 draft next year's objective proposals based on item b and changes. ⑤ Get the sign-off of the Technical Manager, then top management; issue within 10 working days after the meeting.

## 6 How to Operate MR-06 (decision tracker)

① Within 3 days of issuing MR-05, enter each output row by row (decision no., source category, content, owner, deadline, status). ② The Quality Manager checks monthly: remind owners 5 days before deadlines; overdue items without a reasonable explanation are escalated to top management in writing. ③ At closure: verification method + completion evidence + verifier signature; not-passed items are returned (record attempt no.). ④ Next year's input d) simply reads off the tracker's annual summary — the closure chain becomes the evidence.

## 7 Time-Nodes Quick Reference

| Time node | Action |
| --- | --- |
| 8 weeks before review | Issue MR-07 calendar; start input collection |
| 6–3 weeks before | Departments fill in MR-03 on schedule |
| 10 working days before | Issue MR-02 notice + issues to be decided |
| 5 working days before | All inputs in; Quality Manager pre-reviews and returns non-compliant items |
| Review day | Hold the meeting; fill in MR-04 |
| +10 working days | Issue MR-05 |
| +3 days | All decisions into MR-06 |
| Monthly | MR-06 progress check and reminders |

8 Filling Example Bank

Two full “good vs. poor” pairs are provided as calibration references when departments fill in MR-03 — compare before submitting:

Poor pair (typical of a formalistic review): Item e: “Internal audit passed with no major problems.”
 Item l: “Resources adequate.”
 Item d: “Previous decisions basically implemented.”
 Review output: “Continuous improvement.” — no data, no evidence, no owner, no deadline; this whole review will not survive an assessor's review.

Good pair (the target of this pack): Item e: “FR-25 No. 2026-02: 5 NCs, all minor, concentrated in §6.4 equipment records; conclusion — the system conforms and is effective.”
 Item l: “Key equipment average utilisation 85%; GC queues over 3 days in peak months; 1 analyst position vacant; add 1 GC + 1 analyst (decision c).”
 Item d: “11 of 12 decisions closed, 1 delayed with reasons recorded; closure evidence in MR-06.”
 Review output: “c: Technical Manager to complete GC procurement, installation and traceability by 2027-03-31 (acceptance: equipment register + traceability certificates).”

## 9 Pre-Issue Self-Check (checklist before the review is filed as complete)

| No. | Check item | Result |
| --- | --- | --- |
| 1 | All 15 inputs a)–o) complete, each with data + evidence reference + conclusion | □ Yes □ No |
| 2 | No input written only as “normal / fine / no change / none” | □ Yes □ No |
| 3 | Attendance page signed (MR-04); meeting chaired by top management | □ Yes □ No |
| 4 | Triple-dimension judgement (suitability / adequacy / effectiveness) stated in MR-05 | □ Yes □ No |
| 5 | Four output categories a)–d) each have decision + owner + deadline + acceptance criteria | □ Yes □ No |
| 6 | All outputs entered into MR-06 within 3 days | □ Yes □ No |
| 7 | Full record set (MR-01 to MR-07) archived with a retention period set | □ Yes □ No |

10 Frequently Asked Questions

Q1: Must the review be held once a year? At least once every 12 months; additionally whenever a major change occurs, then an additional review within 1 month may be narrower in scope (see LP-09 §5.11).

Q2: Who must attend? Top management, Quality Manager, Technical Manager, heads of departments and authorised signatory representatives; anyone who owns an issue must attend its decision.

Q3: Can the meeting be shortened? Yes: pre-circulate informational inputs, and decide only the issues on the “issues to be decided” list; half a day is enough for a typical laboratory.

Q4: What if a department's input is late? Return it with a deadline (5 working days before the review is the hard gate); the calendar (MR-07) and monthly reminders prevent this.

Q5: Is the review linked to internal audit? Yes: audit conclusions are input e); it is recommended to hold the review within one month after the audit so evidence is fresh and corrections have had time to show effect.

## 11 Quick Mnemonic (for the review day)

“3-3-3”: 3 musts — inputs with data, outputs with owners, decisions with deadlines; 3 checks — suitability, adequacy, effectiveness; 3 closures — report issued within 10 working days, decisions entered within 3 days, closure verified next year. Post this on the wall of the review room.

## 12 Time Traps (avoid these)

① Holding the review before the internal audit is complete — input e has nothing to cite; ② collecting inputs the day before the meeting — pre-review becomes a formality; ③ issuing the report months later — the decisions age before they start; ④ skipping monthly checks on MR-06 — next year's input d) becomes “all in progress”; ⑤ reviewing only for the accreditation body — the review degenerates into paperwork and loses its management value.

MR-WI-01 Management Review Work Instruction · LabKitPro Management Review Complete Pack (English Version v1.0)
Supports LP-09 · Prepared in accordance with ISO/IEC 17025:2017 §8.9 · Paid template for internal use by the purchasing laboratory only