LABKITPRO   |   ISO/IEC 17025:2017 toolkit   |   Reality Diagnosis

Laboratory Conformity Reality Diagnosis

ISO/IEC 17025:2017 · generic framework diagnosis · not tailored to any laboratory

DEMO SAMPLE — what this file is
A generic sample showing the structure, depth and tone of a LabKitPro Reality Diagnosis. The paid full version is generated from your country, accreditation body, industry, assessment stage and the documents you upload — including a written consultant view and a prioritised action plan.

1  Purpose

Self-assess the laboratory against ISO/IEC 17025:2017 clauses §4–§8, overlaid with the real review focus of the selected accreditation body, and convert findings into prioritised, evidence-linked actions. The diagnosis is a preparation aid; it is not an accreditation-body decision.

2  Scope and basis

Generic ISO/IEC 17025:2017 framework, applicable to all laboratories regardless of discipline. The diagnosis reads what you provide — narrative text and/or uploaded documents — and reports only what is evidenced there. Dimensions not mentioned are marked N/A rather than guessed. The full version narrows scope to your selected accreditation body (A2LA, NVLAP, UKAS, NABL, SAC, NATA, ILAC), your laboratory type and your industry.

3  Eight-lens conformity snapshot (sample)

The eight lenses are the user-facing view of the standard: Man, Machine, Material, Method, Environment, Measurement, System and Impartiality. Each is scored only against what was mentioned.

| Lens | Rating | Sample observation | Typical evidence to close the gap |
| --- | --- | --- | --- |
| Man — personnel | Partial | Competence records incomplete for two analysts | Training & authorisation log (WI, FR) |
| Machine — equipment | Good | Calibration status current; interim checks ad hoc | Interim-check schedule (WI, FR) |
| Material — items | Partial | Handling/storage procedures present, not fully applied | Signed handling records (WI, FR) |
| Method | Partial | Validation evidence thin for two methods | Validation report per method (LP, FR) |
| Environment | Good | Monitoring data available; limits not justified | Fitness-for-purpose justification (WI) |
| Measurement — MU | Partial | Uncertainty budgets exist but are not maintained | Current budget per scope (LP, FR) |
| System — management | Partial | Audit trail and CAPA closure weak | Audit plan, findings, closure log (LP, FR) |
| Impartiality | Good | Policy present; risk review performed annually | Risk review record (LP, FR) |

4  Clause-section snapshot (sample)

| Clause | Sample status | Illustrative gap | Linked template |
| --- | --- | --- | --- |
| §4 | Partial · 70% | Impartiality commitment not re-dated | FR-02 |
| §5 | Partial · 65% | Responsibility matrix incomplete | FR-04 |
| §6 | Partial · 60% | Competence monitoring weak | FR-09 |
| §7 | Partial · 55% | Method validation thin | FR-13 |
| §8 | Partial · 68% | Internal-audit trail sparse | FR-21 |

5  Consultant view (excerpt)

In the full deliverable this section is written for you, from your own words — a bright spot, an overall judgement consistent with the numbers, and the priority actions to take next. A representative excerpt reads:

“Good news first: the equipment and impartiality lenses are already in reasonable shape — calibration status is current and the impartiality risk review is performed on schedule, which are two areas assessors probe early. The pressure points are concentrated in §6 and §7: competence monitoring and method validation. Neither is unusual for a laboratory at the preparation stage; both are closeable with documentation you almost certainly already hold. The single highest-leverage action is to make the competence record complete for every person who signs a result — that one fix removes the most likely nonconformity in this report.”

6  Priority action plan (sample)

| # | Action | Clause | Linked template | Horizon |
| --- | --- | --- | --- | --- |
| 1 | Complete and sign competence records for all authorised analysts | §6.2 | FR-09 / WI-03 | 0–30 days |
| 2 | Produce validation evidence for the two unvalidated methods | §7.2 | FR-14 / LP-06 | 0–60 days |
| 3 | Justify and document environmental monitoring limits | §6.3 | WI-05 | 0–60 days |
| 4 | Run an internal audit and close CAPA items on the record | §8.8 | FR-21 / LP-08 | 30–90 days |
| 5 | Refresh uncertainty budgets for the declared scope | §7.5 | FR-13 / LP-07 | 30–90 days |

7  What the full deliverable adds

Written consultant view — bright spots, overall judgement and priority actions, in your context.

Body-specific focus — your accreditation body’s real review points and mandatory clauses.

Your inputs used directly — country, body, industry, stage and any document you upload.

Clause-by-clause evidence map — each finding linked to the record that closes it.

Exportable, watermark-free Word (.docx) — ready to circulate internally.

This is a generic demonstration sample produced by LabKitPro. It shows structure, wording and evidence logic only — none of your personalization inputs (country, accreditation body, industry, stage, uploaded documents) are applied. The full, tailored and watermark-free deliverable is generated from your context at labkitpro.com.